## Fcon and AD Instr List Custom F
P&ID Tag | P&ID Doc Name | P&ID Page | Instrument Fluid | Instrument Material of Construction | Instrument Connection Type | Instrument Type | Analog or Digital | Make | Model
LSHH_21101 |  | D-01 | DFS |  |  | Level High High Switch | Digital
TIT_21101 |  | D-01 | DFS |  |  | Temperature Indicating Transmitter | Analog
TW_21101 |  | D-01 | DFS |  |  | Temperature Indicating Transmitter | Analog
TIT_21102 |  | D-01 | DFS |  |  | Temperature Indicating Transmitter | Analog
TW_21102 |  | D-01 | DFS |  |  | Temperature Indicating Transmitter | Analog
LIT_21102 |  | D-01 | DFS |  |  | Level Sensor | Analog
PIT_21101 |  | D-01 | BG |  |  | Pressure Indicating Transmitter | Analog
ZSO_31204 |  | D-01 | AF |  |  | Position Switch | Analog
ZSC_31204 |  | D-01 | AF |  |  | Position Switch | Analog
LIT_21101 |  | D-01 | DFS |  |  | Level Indicating Transmitter | Analog
PI_44201A |  | D-02 | DFS |  |  | Pressure Indicator | Analog
PI_44201B |  | D-02 | DFS |  |  | Pressure Indicator | Analog
PSH_44201A |  | D-02 | DFS |  |  | Pressure High Switch | Digital
PSH_44201B |  | D-02 | DFS |  |  | Pressure High Switch | Digital
PI_44202A |  | D-02 | DFS |  |  | Pressure Indicator | Analog
PI_44202B |  | D-02 | DFS |  |  | Pressure Indicator | Analog
TIT_44201A |  | D-02 | HW |  |  | Temperature Indicating Transmitter | Analog
TIT_44201B |  | D-02 | HW |  |  | Temperature Indicating Transmitter | Analog
PI_44203A |  | D-02 | HW |  |  | Pressure Indicator | Analog
PI_44203B |  | D-02 | HW |  |  | Pressure Indicator | Analog
FIT_44201A |  | D-02 | DFS |  |  | Flow Indicating Transmitter | Analog
FIT_44201B |  | D-02 | DFS |  |  | Flow Indicating Transmitter | Analog
FIT_44202A |  | D-02 | DFS |  |  | Flow Indicating Transmitter | Analog
FIT_44202B |  | D-02 | DFS |  |  | Flow Indicating Transmitter | Analog
FE_44201A |  | D-02 | DFS |  |  | Flow Sensor | Analog
FE_44201B |  | D-02 | DFS |  |  | Flow Sensor | Analog
TIT_44202A |  | D-02 | DFS |  |  | Temperature Indicating Transmitter | Analog
TIT_44202B |  | D-02 | DFS |  | E+H | Temperature Indicating Transmitter | Analog
TW_44202A |  | D-02 | DFS |  |  | Temperature Sensor | Analog
TW_44202B |  | D-02 | DFS |  |  | Temperature Sensor | Analog
TI_44201A |  | D-02 | HW |  | E+H | Temperature Indicator | Analog
TI_44201B |  | D-02 | HW |  |  | Temperature Indicator | Analog
PI_44204A |  | D-02 | HW |  |  | Pressure Indicator | Analog
PI_44204B |  | D-02 | HW |  |  | Pressure Indicator | Analog
TIT_44203A |  | D-02 | DFS |  |  | Temperature Indicating Transmitter | Analog
TIT_44203B |  | D-02 | DFS |  |  | Temperature Indicating Transmitter | Analog
TW_44203A |  | D-02 | DFS |  |  | Temperature Sensor | Analog
TW_44203B |  | D-02 | DFS |  |  | Temperature Sensor | Analog
PI_44205A |  | D-02 | DFS |  | FLANGED DN 50 PN25/40 | Pressure Indicator | Analog
PI_44205B |  | D-02 | DFS |  | 1 1/2" GAS-F | Pressure Indicator | Analog
PI_41201A |  | D-03 | DFS |  |  | Pressure Indicator | Analog
PI_41201B |  | D-03 | DFS |  |  | Pressure Indicator | Analog
PI_41201C |  | D-03 | DFS |  |  | Pressure Indicator | Analog
PSH_41201A |  | D-03 | DFS |  |  | Pressure High Switch | Digital
PSH_41201B |  | D-03 | DFS |  | MBA | Pressure High Switch | Digital
PSH_41201C |  | D-03 | DFS |  | 1 1/2" GAS-F | Pressure High Switch | Digital
PI_41202A |  | D-03 | DFS |  | 1 1/2" GAS-F | Pressure Indicator | Analog
PI_41202B |  | D-03 | DFS |  |  | Pressure Indicator | Analog
PI_41202C |  | D-03 | DFS |  |  | Pressure Indicator | Analog
FIT_41201A |  | D-03 | DFS |  |  | Flow Indicating Transmitter | Analog
FIT_41201B |  | D-03 | DFS |  |  | Flow Indicating Transmitter | Analog
FIT_41201C |  | D-03 | DFS |  |  | Flow Indicating Transmitter | Analog
ZIT_41201A |  | D-04 | DGT |  |  | Position Indicating Transmitter | Analog
ZIT_41201B |  | D-05 | DGT |  | BIFFI | Position Indicating Transmitter | Analog
ZIT_41201C |  | D-06 | DGT |  |  | Position Indicating Transmitter | Analog
PI_41203A |  | D-04 | BG |  |  | Pressure Indicator | Analog
PI_41203B |  | D-05 | BG |  |  | Pressure Indicator | Analog
PI_41203C |  | D-06 | BG |  |  | Pressure Indicator | Analog
PI_41204A |  | D-04 | BG |  |  | Pressure Indicator | Analog
PI_41204B |  | D-05 | BG |  | MBA | Pressure Indicator | Analog
PI_41204C |  | D-06 | BG |  |  | Pressure Indicator | Analog
PI_41205A |  | D-04 | BG |  |  | Pressure Indicator | Analog
PI_41205B |  | D-05 | BG |  |  | Pressure Indicator | Analog
PI_41205C |  | D-06 | BG |  |  | Pressure Indicator | Analog
PIT_41201A |  | D-04 | BG |  |  | Pressure Indicating Transmitter | Analog
PIT_41201B |  | D-05 | BG |  |  | Pressure Indicating Transmitter | Analog
PIT_41201C |  | D-06 | BG |  |  | Pressure Indicating Transmitter | Analog
PIT_41202A |  | D-04 | AU |  |  | Pressure Indicating Transmitter | Analog
PIT_41202B |  | D-05 | AU |  |  | Pressure Indicating Transmitter | Analog
PIT_41202C |  | D-06 | AU |  |  | Pressure Indicating Transmitter | Analog
LIT_41202A |  | D-04 | DGT |  |  | Level Indicating Transmitter | Analog
LIT_41202B |  | D-05 | DGT |  |  | Level Indicating Transmitter | Analog
LIT_41202C |  | D-06 | DGT |  |  | Level Indicating Transmitter | Analog
ZSO_31201 |  | D-04 | AF |  |  | Position Switch | Analog
ZSC_31201 |  | D-04 | AF |  |  | Position Switch | Analog
LSHH_41201A |  | D-04 | DGT |  |  | Level High High Switch | Digital
LSHH_41201B |  | D-05 | DGT |  | 1 1/2" GAS-F | Level High High Switch | Digital
LSHH_41201C |  | D-06 | DGT |  | 1 1/2" GAS-F | Level High High Switch | Digital
TIT_41201A |  | D-04 | DGT |  |  | Temperature Indicating Transmitter | Analog
TIT_41201B |  | D-05 | DGT |  |  | Temperature Indicating Transmitter | Analog
TIT_41201C |  | D-06 | DGT |  | 1 1/2" GAS-F | Temperature Indicating Transmitter | Analog
TW_41201A |  | D-04 | DGT |  |  | Temperature Sensor | Analog
TW_41201B |  | D-05 | DGT |  | 1 1/2" GAS-F | Temperature Sensor | Analog
TW_41201C |  | D-06 | DGT |  |  | Temperature Sensor | Analog
TIT_41202A |  | D-04 | DGT |  |  | Temperature Transmitter | Analog
TW_41202A |  | D-04 | DGT |  | 1 1/2" GAS-F | Temperature Transmitter | Analog
ZSO_31202 |  | D-05 | DGT |  |  | Position Switch | Analog
ZSC_31202 |  | D-05 | DGT |  |  | Position Switch | Analog
ZSO_31203 |  | D-06 | DGT |  |  | Position Switch | Analog
ZSC_31203 |  | D-06 | DGT |  |  | Position Switch | Analog
TIT_41202B |  | D-05 | DGT |  |  | Temperature Transmitter | Analog
TW_41202B |  | D-05 | DGT |  | 1 1/2" GAS-F | Temperature Transmitter | Analog
TIT_41202C |  | D-06 | DGT |  |  | Temperature Transmitter | Analog
TW_41202C |  | D-06 | DGT |  | 1 1/2" GAS-F | Temperature Transmitter | Analog
LIT_41201A |  | D-04 | DGT |  | 1/2" GAS-F | Level Transmitter | Analog
LIT_41201B |  | D-05 | DGT |  | 1/4" GAS-F | Level Transmitter | Analog
LIT_41203A |  | D-04 | DGT |  |  | Level Transmitter | Analog
LIT_41203B |  | D-05 | DGT |  |  | Level Transmitter | Analog
LIT_41203C |  | D-06 | DGT |  |  | Level Transmitter | Analog
LIT_41201C |  | D-06 | DGT |  | 1/4" GAS-F | Level Transmitter | Analog
FIT_41202A |  | D-07 | BG |  | 1/4" GAS-F | Flow Indicating Transmitter | Analog
FIT_41202B |  | D-07 | BG |  | 1/2" GAS-F | Flow Indicating Transmitter | Analog
FIT_41202C |  | D-07 | BG |  | 1/4" GAS-F | Flow Indicating Transmitter | Analog
FIT_41203 |  | D-07 | BG |  | 1/2" GAS-F | Flow Indicating Transmitter | Analog
FE_41201 |  | D-07 | BG |  |  | Flow Sensor | Analog
PI_44101A |  | D-09 | DGT |  | 1/4" GAS-F | Pressure Indicator | Analog
PI_44101B |  | D-09 | DGT |  | 1/4" GAS-F | Pressure Indicator | Analog
PI_44101C |  | D-09 | DGT |  | 1/4" GAS-F | Pressure Indicator | Analog
PSH_44101A |  | D-09 | DGT |  | 1/2" GAS-F | Pressure High Switch | Digital
PSH_44101B |  | D-09 | DGT |  | 1/4" GAS-F | Pressure High Switch | Digital
PSH_44101C |  | D-09 | DGT |  |  | Pressure High Switch | Digital
PI_44102A |  | D-09 | DGT |  |  | Pressure Indicator | Analog
PI_44102B |  | D-09 | DGT |  |  | Pressure Indicator | Analog
PI_44102C |  | D-09 | DGT |  |  | Pressure Indicator | Analog
TIT_44101A |  | D-09 | HW |  | 1/2" GAS-F | Temperature Indicating Transmitter | Analog
TIT_44101B |  | D-09 | HW |  | 1/2" GAS-F | Temperature Indicating Transmitter | Analog
TIT_44101C |  | D-09 | HW |  | FLANGED DN 40 PN 10 | Temperature Indicating Transmitter | Analog
PI_44103A |  | D-09 | HW |  |  | Pressure Indicator | Analog
PI_44103B |  | D-09 | HW |  | 1/2" GAS-F | Pressure Indicator | Analog
PI_44103C |  | D-09 | HW |  |  | Pressure Indicator | Analog
FIT_44101A |  | D-09 | DGT |  |  | Flow Indicating Transmitter | Analog
FIT_44101B |  | D-09 | DGT |  | 1/2" GAS-F | Flow Indicating Transmitter | Analog
FIT_44101C |  | D-09 | DGT |  | 1/2" GAS-F | Flow Indicating Transmitter | Analog
FE_44101A |  | D-09 | DGT |  | 1/2" GAS-F | Flow Sensor | Analog
FE_44101B |  | D-09 | DGT |  | 1/2" GAS-F | Flow Sensor | Analog
FE_44101C |  | D-09 | DGT |  | 1/2" GAS-F | Flow Sensor | Analog
FIT_44102A |  | D-09 | DGT |  |  | Flow Indicating Transmitter | Analog
FIT_44102B |  | D-09 | DGT |  |  | Flow Indicating Transmitter | Analog
FIT_44102C |  | D-09 | DGT |  |  | Flow Indicating Transmitter | Analog
FE_44102A |  | D-09 | DGT |  |  | Flow Sensor | Analog
FE_44102B |  | D-09 | DGT |  |  | Flow Sensor | Analog
FE_44102C |  | D-09 | DGT |  |  | Flow Sensor | Analog
TIT_44102A |  | D-09 | DGT |  | 1/2" GAS-F | Temperature Indicating Transmitter | Analog
TIT_44102B |  | D-09 | DGT |  | 1/2" GAS-F | Temperature Indicating Transmitter | Analog
TIT_44102C |  | D-09 | DGT |  | 1/2" GAS-F | Temperature Indicating Transmitter | Analog
TW_44102A |  | D-09 | DGT |  | 1/2" GAS-F | Thermowell | Analog
TW_44102B |  | D-09 | DGT |  | 1/2" GAS-F | Thermowell | Analog
TW_44102C |  | D-09 | DGT |  |  | Thermowell | Analog
TI_44101A |  | D-09 | HW |  |  | Temperature Indicator | Analog
TI_44101B |  | D-09 | HW |  |  | Temperature Indicator | Analog
TI_44101C |  | D-09 | HW |  | 1/2" GAS-F | Temperature Indicator | Analog
PI_44104A |  | D-09 | HW |  | 1/2" GAS-F | Pressure Indicator | Analog
PI_44104B |  | D-09 | HW |  | 1/2" GAS-F | Pressure Indicator | Analog
PI_44104C |  | D-09 | HW |  | 1/2" GAS-F | Pressure Indicator | Analog
TIT_44103A |  | D-09 | DGT |  | 1/2" GAS-F | Temperature Indicating Transmitter | Analog
TIT_44103B |  | D-09 | DGT |  | 1/2" GAS-F | Temperature Indicating Transmitter | Analog
TIT_44103C |  | D-09 | DGT |  | 1/2" GAS-F | Temperature Indicating Transmitter | Analog
TW_44103A |  | D-09 | DGT |  | 1" GAS-F | Thermowell | Analog
TW_44103B |  | D-09 | DGT |  | 1" GAS-F | Thermowell | Analog
TW_44103C |  | D-09 | DGT |  | 1/2" GAS-F | Thermowell | Analog
PI_44105A |  | D-09 | DGT |  | 1/2" GAS-F | Pressure Indicator | Analog
PI_44105B |  | D-09 | DGT |  | 1/2" GAS-F | Pressure Indicator | Analog
PI_44105C |  | D-09 | DGT |  | 1/2" GAS-F | Pressure Indicator | Analog
PI_41206A |  | D-10 | DGT |  | 1/2" GAS-F | Pressure Indicator | Analog
PI_41206B |  | D-10 | DGT |  | 1/2" GAS-F | Pressure Indicator | Analog
PI_41206C |  | D-10 | DGT |  | 1" GAS-F | Pressure Indicator | Analog
PSH_41202A |  | D-10 | DGT |  | 1/2" GAS-F | Pressure High Switch | Digital
PSH_41202B |  | D-10 | DGT |  | 1/2" GAS-F | Pressure High Switch | Digital
PSH_41202C |  | D-10 | DGT |  | 1/2" GAS-F | Pressure High Switch | Digital
PI_41207A |  | D-10 | DGT |  | 1/2" GAS-F | Pressure Indicator | Analog
PI_41207B |  | D-10 | DGT |  | 1/2" GAS-F | Pressure Indicator | Analog
PI_41207C |  | D-10 | DGT |  | 1/4" GAS-F | Pressure Indicator | Analog
FIT_41204A |  | D-10 | DGT |  | 1/4" GAS-F | Flow Indicating Transmitter | Analog
FIT_41204B |  | D-10 | DGT |  | 1/4" GAS-F | Flow Indicating Transmitter | Analog
FIT_41204C |  | D-10 | DGT |  | 1/2" GAS-F | Flow Indicating Transmitter | Analog